ORDINANCE NO. 4122

AN ORDINANCE AMENDING SECTIONS AND/OR PORTIONS OF SECTIONS OF ARTICLE II OF CHAPTER 38, UTILITIES,

OF THE

CODE OF ORDINANCES

Recitals:

A renewed National Pollutant Discharge Elimination System (NPDES) Permit was issued to the Persigo Wastewater Treatment Plant effective November 1, 2006. Federal regulations require the revision of industrial pretreatment local limits within 270 days from the issuance of the new discharge permit.

The industrial pretreatment local limits will be revised through this Ordinance. There are no resulting impacts to local industries resulting from this change.

NOW, THEREFORE, BE IT ORDAINED BY THE CITY COUNCIL OF THE CITY OF GRAND JUNCTION THAT:

Chapter 38, section 49 of the Code of Ordinances is amended as follows:

Section 38-49 (18)  Mass Based Local limits:

The following non-domestic discharge limitations are established to protect sludge quality and prevent Pass Through and Interference with the proper operation of the WWTW.  These limits are shown in pounds per day.  They reflect the total industrial contribution that can be discharged by permitted industrial users and received at the headwork’s of the WWTP. These are called maximum allowable industrial loads (“mails”):

POLLUTANT				*POUNDS PER DAY

Arsenic				         12.300

Cadmium					3.057

Chromium (T)			         67.685

Chromium (VI)				2.960

Copper				         41.350

Lead					         14.095

Molybdenum					7.652

Mercury					0.026

Nickel					         23.937

Selenium					0.278

Silver						3.015

Zinc					       104.246

*Maximum daily industrial loadings shall be allocated through industrial user permits and the total loading to all permitted industrial users shall not exceed the limits shown.

The remainder of Chapter 38, not specifically amended herein, shall remain in full force and effect.

Introduced on first reading this 15th day of August 2007.

PASSED and ADOPTED on second reading this 17th day of October 2007.

/s/ James J. Doody

James J. Doody

Mayor

Attest:

/s/ Stephanie Tuin

Stephanie Tuin

City Clerk