## Rqmnts
ATTACHMENT A RFP-4153-15-NJ
Row | Category | Functional Requirements | Importance | Vendor Response Y/N/O | Response Comments
1 | Server and Storage | Meet or exceed manufacturer's recommended requirements | R
2 |  | Windows Server 2012 Operating System | R
3 |  | RAID Configuration | R
4 |  | Adequate storage for a minimum of 30 Days with built in redundant storage | R
5 | Client Devices | Windows 7 (64-bit) desktops and upgradable | R
6 |  | Thin Clients (VMware) | R
7 |  | Mobile Devices (Apple, Android) | R
8 | General | Not limit the number of concurrent connections for viewing live or recorded feeds | O
9 |  | Not limit the number of workstations used for monitoring video and audio streams | R
10 |  | Support receiving digital input triggers and triggering digital output triggers | R
11 |  | Display auditable image overlays on both live and recorded video, including: * Camera name, camera location * Timestamp | R
12 |  | Support guard tours / view cycling based on specified interval for applicable cameras | O
13 |  | Transmissions must be secured, preferred HTTPS (if other, describe) | R
14 |  | NVMS shall not limit the storage capacity and shall allow for upgrades of recording capacity without additional licensing | R
15 |  | System must be scalable | R
16 |  | The system, without any degradation to video quality, shall simultaneously offer: - Continuous video playback - Video playback transmission to the network - Continuous video receiving from the network - User selectable video archiving of pre-existing recordings - Video export | R
17 | Access Control | JAIL - Integrate through the HMI workstation with Sierra Systems (Door control System) CJSD - Integrate with existing RS2 door conrol system for door release | R
18 |  | Integrate with camera call-up system through digital means rather than through matrix | R
19 |  | * Describe how the proposed system will accomplish camera call-ups with a full IP-based CCTV solution | R
20 |  | Integrate with existing analog intercom system | R
21 |  | Support software level integrations (configurable events, alarms, etc.) | R
22 | Alarm Management | Provide a method for managing alarms, including event triggered alarms, system notifications, user entered | R
23 |  | Audible alarms | R
24 |  | Timed notifications / reminders | O
25 |  | Alarm notification by email | R
26 |  | Alarm notification by text message | O
27 |  | Alarm notifications on-screen | R
28 |  | Alarm escalation (if alarm is unacknowledged) | R
29 |  | Customizable alarm/alert messages | O
30 |  | Ability to create grids to pinpoint alarm trigger locations | R
31 | Audio | Synchronize audio with video regardless of frame-rate, resolution or bitrate for both live and recorded video | R
32 |  | Audio in all booking and pre-screen cameras recording full time | R
33 |  | Video with associated audio must be exported in a single file and audio must be synchronized wtih video | R
34 | Cameras | Proposed cameras may include Fixed IP, PTZ IP, Panoramic IP and/or Specialized Cameras taking into account location, environment, viewshed and lighting conditions | R
35 |  | All cameras should have sufficient resolution for positive identification within their viewshed | R
36 |  | Support remote PTZ protocols and controls for applicable cameras - On live and recorded video - Set presets and create guard tours | R
37 |  | Support IR / Night Time video capture for applicable cameras with auto iris lenses / light sensitivity control - external cameras must have sun hoods | R
38 |  | Ability to add privacy masks | O
39 |  | 15 FPS minimum - internal cameras 30 FPS minimum - external cameras | R
40 |  | Describe compression | I
41 |  | Demonstrate cameras ability to capture clear images: - reduction in motion blur - electronic image stabilization - light sensitivity | I
42 |  | Built in intelligence - Motion detection - Record to SD card in the event of dropped network connection or server interuption - Tamper detection | O
43 |  | All cameras/enclosures to be corrections/detention grade | R
44 |  | All cameras shall carry Electromagnetic Emissions and Immunity Certifications | R
45 |  | Accept SD Cards to record video as a backup measure | O
46 | Disaster Recovery | Describe methods and safeguards in place to prevent the loss of recorded data | I
47 |  | Provide a method to detect dropped audio or video signals and alert system administrators | R
48 |  | Schedule backups of recorded video with associated events to a networked location | R
49 |  | Maintain a comprehensive event log for server and software | R
50 | Facility Map | Interactive facility map / diagram with camera locations and/or viewsheds | O
51 |  | Provide a visual alert to show cameras with triggered alarms/events | O
52 | Master Control Station | Display supports simultaneous live and recorded viewing of multiple input feeds with configurable layouts | R
53 |  | MCDF: 4 - 32" Monitors CJSD: 2 - 32" Monitors per building | R
54 | POE Switches | Cisco Switches | R
55 | Recording Modes | Provide at a minimum the following recording modes with the ability to configure each camera indiviually: continuous, manual, scheduled, event triggered, and motion detection. | R
56 |  | Capable of setting pre and post event recording options | R
57 |  | Configurable video retention periods per video source | O
58 | User Authentication | Provide a method to control user access and system functions by at least the following: * Individually * Team or Group level * By Facility (Mesa County Detention Facility / Criminal Justice Services Department) | R
59 |  | Provide comprehensive audit logging of user access and activity on the system | R
60 |  | Microsoft Active Directory enabled | O
61 | User Experience | Save preset layouts/views based on user or teams | O
62 |  | Ability to schedule tasks/reminders | O
63 | Video Analytics | Describe available video analytics | I
64 | Video Viewing | Provide multiple search functions for recorded events, including custom area of interest, date and time ranges, bookmarks. Search on multiple cameras simultaneously based on AOI. | R
65 |  | Ability to zoom and select different areas of interest on recorded video | R
66 |  | Forward and reverse playback of video and audio at variable speeds | R
67 |  | Recorded video with associated audio will playback synchronously | R
68 |  | Live viewing from multiple locations | R
69 |  | Recorded viewing from multiple locations | R
70 |  | The monitoring should be conducted through client software which will be required on multiple monitoring stations | R
71 |  | All network video recorders should be sufficient for 30 days of storage with built-in redundant storage | R
72 |  | Ability to export recordings in both native and standard format. | R
73 |  | Verifiable recording metadata so file can be authenticated as original | R
74 |  | Metadata should also include: date and time, video and audio parameters, event/alarm information, vector motion and transactional data | R
75 | Wiring and punch down blocks | Category 6e | R
76 |  | Plenum Shielded | R
77 |  | Professionally installed, tested and certified | R
Importance
R |  | Required
O |  | Optional/Preferred
I |  | Information Requested
Response
Y |  | Completely meets / "out of box" solution
F |  | Future (Specify Release Version / Date)
3P |  | Third Party Software Required
M |  | Modification (Change Using Built-in Toolset)
C |  | Custom development Required (Provide cost estimate in comments section)
N |  | Cannot be met / Not available
Abbreviations
NVMS |  | Network Video Management System

## Key
Importance
R | Required
O | Optional/Preferred
Response
Y | Completely meets / "out of box" solution
F | Future (Specify Release Version / Date)
3P | Third Party Software Required
M | Modification (Change Using Built-in Toolset)
C | Custom development Required (Provide cost estimate in comments section)
N | Cannot be met / Not available
Abbreviations
NVMS | Network Video Management System