## Sheet1
Bid Schedule: 2016 Waterline Replacement Project
ADDENDUM #4
Item No. | CDOT, City Ref. | Description | Quantity | Units | Unit Price | Total Price
1 | 108.2 | Water Main (2") (HDPE) (Service Line) (If lead service line is encounter, water service shall be replaced to meter) (Includes cost of connection to existing pipe) | 10 | Lin. Ft. | $ ____________ | $ ____________
2 | 108.2 | Water Main (6") (C-900 PVC, DR-18) (Includes cost of connection to existing waterline / valve / fitting) | 285 | Lin. Ft. | $ ____________ | $ ____________
3 | 108.2 | Water Main (8") (C-900 PVC, DR-18) (Includes cost of connection to existing waterline / valve / fitting) | 85 | Lin. Ft. | $ ____________ | $ ____________
4 | 108.2 | Water Main (10") (C-900 PVC, DR-18) (Includes cost of connection to existing waterline / valve / fitting) | 15 | Lin. Ft. | $ ____________ | $ ____________
5 | 108.2 | Water Main (18") (C-905 PVC, DR-25) (Includes cost of connection to existing waterline / valve / fitting) | 230 | Lin. Ft. | $ ____________ | $ ____________
6 | 108.2 | Water Main (18") (Fusible C-905 PVC, DR-25) (Install Only) (Includes all equipment, labor, fuel, and materials for fusing pipe and pulling pipe through existing 24" steel pipe) (The City has already purchased the 18" Fusible pipe from Underground Solutions) The Bidder shall not include pipe material costs for this Bid Item. | 3650 | Lin. Ft. | $ ____________ | $ ____________
7 | 108.2 | Imported Trench Backfill (Class 3) (Includes haul and disposal of unsuitable excavated material) (Assumed Unit Weight = 133 lbs/ft3) | 300 | Ton | $ ____________ | $ ____________
8 | 108.3 | Gate Valve (6") | 1 | Each | $ ____________ | $ ____________
9 | 108.3 | 8" Blind Flange | 1 | Each | $ ____________ | $ ____________
10 | 108.3 | 18" x 6" Tee (MJ x FL) | 1 | Each | $ ____________ | $ ____________
11 | 108.3 | Butterfly Valve (18") | 4 | Each | $ ____________ | $ ____________
12 | 108.3 | Elbow (6" x 22.5 deg) (MJ) | 2 | Each | $ ____________ | $ ____________
13 | 108.3 | Elbow (6" x 45 deg) (MJ) | 8 | Each | $ ____________ | $ ____________
14 | 108.3 | Elbow (8" x 45 deg) (MJ) | 6 | Each | $ ____________ | $ ____________
15 | 108.3 | Elbow (18" x 22.5 deg) (MJ) | 4 | Each | $ ____________ | $ ____________
16 | 108.3 | Elbow (18" x 45 deg) (MJ) | 6 | Each | $ ____________ | $ ____________
17 | 108.3 | Reducer (20" x 18") (MJ) | 1 | Each | $ ____________ | $ ____________
18 | 108.3 | 18" Solid Sleeve Coupling (MJ) | 7 | Each | $ ____________ | $ ____________
19 | 108.3 | Fire Hydrant Assembly | 6 | Each | $ ____________ | $ ____________
20 | 108.4 | 3/4" Water Service Line (Type K Copper) (If Lead or Poly service line is encountered, water service shall be replaced to meter) (Includes cost of connection to existing pipe) | 160 | Lin. Ft. | $ ____________ | $ ____________
21 | 108.4 | Tapping Saddle (18" x 3/4") | 19 | Each | $ ____________ | $ ____________
22 | 108.4 | Tapping Saddle (18" x 2") | 1 | Each | $ ____________ | $ ____________
23 | 108.4 | Corporation Stop (3/4") | 19 | Each | $ ____________ | $ ____________
24 | 108.4 | Corporation Stop (2") | 1 | Each | $ ____________ | $ ____________
25 | 108.7 | Granular Stabilization Material (Type B) (Crushed Rock) (Includes haul and disposal of unsuitable excavated material) (Assumed material unit weight = 138 lbs/ft3) | 200 | Ton | $ ____________ | $ ____________
26 | 202 | Removal of Bush | 1 | Each | $ ____________ | $ ____________
27 | 202 | Removal of Tree | 2 | Each | $ ____________ | $ ____________
28 | 202 | Abandon Pipe (Abandon pipe by plugging ends with concrete) | 70 | Each | $ ____________ | $ ____________
29 | 202 | Abandon Existing Water Valve (Close valve, remove top half of existing valve box, fill cavity to finished subgrade with flow-fill material) | 9 | Each | $ ____________ | $ ____________
30 | 202 | Remove Existing Fire Hydrant (Return Hydrant to City Shops) | 6 | Each | $ ____________ | $ ____________
31 | 202 | Remove Existing Pipe (Various sizes and material type) | 400 | Lin. Ft. | $ ____________ | $ ____________
32 | 202 | Remove Existing Water Valve | 7 | Each | $ ____________ | $ ____________
33 | 202 | Removal of Asphalt Mat (Planing) (T-Top Section) (2" Depth) (North Ave., 28 Road, Orchard Ave.) (Per City Standard Detail GU-03) | 430 | Sq. Yd. | $ ____________ | $ ____________
34 | 202 | Removal of Asphalt Mat (Full-Depth) (Per City Standard Detail GU-03) | 520 | Sq. Yd. | $ ____________ | $ ____________
35 | 202 | Removal of Concrete (Saw cut and remove concrete as shown) (Includes but not limited to curb, gutter, sidewalk, driveway, slabs, V-pan, curb ramps, intersection corners, aprons, and concrete walls.) | 210 | Sq. Ft. | $ ____________ | $ ____________
36 | 203 | Disposal of Radioactive Material (City Shops Location) | 100 | Cu. Yd. | $ ____________ | $ ____________
37 | 206 | Structure Backfill (Flow-Fill) | 27 | Cu. Yd. | $ ____________ | $ ____________
38 | 208 | Storm Drain Inlet Protection (Silt-Sack) (Includes Maintenance & Removal of Inlet Protection) | 10 | Each | $ ____________ | $ ____________
39 | 208 | Concrete Washout Facility | 1 | Lump Sum | $ ____________ | $ ____________
40 | 210 | Repair damage to unlocated irrigation lines, various sizes and materials (1" to 12" dia.) | 3 | Each | $ ____________ | $ ____________
41 | 210 | Reset Guardrail | 50 | Lin. Ft. | $ ____________ | $ ____________
42 | 210 | Reset Sprinkler System (Complete in Place) | 6 | Each | $ ____________ | $ ____________
43 | 212 | Sod (Includes 6" Thick Imported Topsoil placed prior to sod placement) | 100 | Sq. Ft. | $ ____________ | $ ____________
44 | 304 | Aggregate Base Course (Class 6) (15" Thick) (4' wide +/-) | 520 | Sq. Yd. | $ ____________ | $ ____________
45 | 401 | Hot Bituminous Pavement (Patching) (4" Thick) (Grading SX, PG 64-22, GYR=75) (Two 2" Lifts) (Bottom Two Mats) (See City Standard Detail GU-03) | 520 | Sq. Yd. | $ ____________ | $ ____________
46 | 401 | Hot Bituminous Pavement (Patching) (2" Thick) (Grading SX, PG 64-22, GYR=75) (T-Top) (See City Standard Detail GU-03) (Top Mat) | 595 | Sq. Yd. | $ ____________ | $ ____________
47 | 407 | Emulsified Asphalt (Tack Coat) | 95 | Gallon | $ ____________ | $ ____________
48 | 608 | Concrete Curb and Gutter (Match in Kind) | 100 | Lin. Ft. | $ ____________ | $ ____________
49 | 608 | Concrete Curb, Gutter and Sidewalk (Match in Kind) | 3 | Sq. Yd. | $ ____________ | $ ____________
50 | 608 | Concrete Drainage Pan (Match in Kind) | 6 | Sq. Yd. | $ ____________ | $ ____________
51 | 608 | Cap Top Half of Sewer Pipe in concrete per Std. Detail GU-04 (20' long) | 2 | Each | $ ____________ | $ ____________
52 | 620 | Portable Sanitary Facility | 1 | Each | $ ____________ | $ ____________
53 | 625 | Construction Surveying | 1 | Lump Sum | $ ____________ | $ ____________
54 | 626 | Mobilization | 1 | Lump Sum | $ ____________ | $ ____________
55 | 630 | Traffic Control Plan | 1 | Lump Sum | $ ____________ | $ ____________
56 | 630 | Traffic Control (Complete in Place) | 1 | Lump Sum | $ ____________ | $ ____________
57 | 630 | Flagging | 100 | Hour | $ ____________ | $ ____________
58 |  |  | 0
59 |  |  | 0
60 |  |  | 0
61 |  |  | 0
62 |  |  | 0
63 |  |  | 0
64 |  |  | 0
65 |  |  | 0
66 |  |  | 0
67 |  |  | 0
68 |  |  | 0
69 |  |  | 0
70 |  |  | 0
71 |  |  | 0
72 |  |  | 0
73 |  |  | 0
74 |  |  | 0
75 |  |  | 0
76 |  |  | 0
77 |  |  | 0
78 |  |  | 0
79 |  |  | 0
80 |  |  | 0
81 |  |  | 0
82 |  |  | 0
83 |  |  | 0
84 |  |  | 0
85 |  |  | 0
86 |  |  | 0
87 |  |  | 0
88 |  |  | 0
89 |  |  | 0
90 |  |  | 0
91 |  |  | 0
92 |  |  | 0
93 |  |  | 0
94 |  |  | 0
95 |  |  | 0
96 |  |  | 0
97 |  |  | 0
98 |  |  | 0
99 |  |  | 0
100 |  |  | 0
101 |  |  | 0
102 |  |  | 0
103 |  |  | 0
104 |  |  | 0
105 |  |  | 0
106 |  |  | 0
107 |  |  | 0
108 |  |  | 0
109 |  |  | 0
110 |  |  | 0
111 |  |  | 0
112 |  |  | 0
113 |  |  | 0
114 |  |  | 0
115 |  |  | 0
116 |  |  | 0
117 |  |  | 0
118 |  |  | 0
119 |  |  | 0
120 |  |  | 0
121 |  |  | 0
122 |  |  | 0
123 |  |  | 0
124 |  |  | 0
125 |  |  | 0
126 |  |  | 0
127 |  |  | 0
128 |  |  | 0
129 |  |  | 0
130 |  |  | 0
131 |  |  | 0
132 |  |  | 0
133 |  |  | 0
134 |  |  | 0
135 |  |  | 0
136 |  |  | 0
137 |  |  | 0
138 |  |  | 0
139 |  |  | 0
140 |  |  | 0
141 |  |  | 0
142 |  |  | 0
143 |  |  | 0
144 |  |  | 0
145 |  |  | 0
146 |  |  | 0
147 |  |  | 0
148 |  |  | 0
149 |  |  | 0
150 |  |  | 0
151 |  |  | 0
152 |  |  | 0
153 |  |  | 0
154 |  |  | 0
155 |  |  | 0
156 |  |  | 0
157 |  |  | 0
158 |  |  | 0
159 |  |  | 0
160 |  |  | 0
161 |  |  | 0
162 |  |  | 0
163 |  |  | 0
164 |  |  | 0
165 |  |  | 0
166 |  |  | 0
167 |  |  | 0
168 |  |  | 0
169 |  |  | 0
170 |  |  | 0
171 |  |  | 0
172 |  |  | 0
173 |  |  | 0
174 |  |  | 0
175 |  |  | 0
176 |  |  | 0
177 |  |  | 0
178 |  |  | 0
179 |  |  | 0
180 |  |  | 0
181 |  |  | 0
182 |  |  | 0
183 |  |  | 0
184 |  |  | 0
185 |  |  | 0
186 |  |  | 0
187 |  |  | 0
188 |  |  | 0
189 |  |  | 0
190 |  |  | 0
191 |  |  | 0
192 |  |  | 0
193 |  |  | 0
194 |  |  | 0
195 |  |  | 0
196 |  |  | 0
197 |  |  | 0
198 |  |  | 0
199 |  |  | 0
MCR |  | Minor Contract Revisions | - - - | - - - | - - - | 50000
|  |  |  | Bid Amount: | $
Bid Amount:
dollars
Contractor's Name:
Contractor's Address:
Contractor's Phone #: